BR-1ALX-03; BR-1ALX-S7; BR-3ALX-03; BR-3ALX-S7; BR-5ALX-03;

BR-5ALX-S7; SC-3AUR-27; BR-2OPH-92

# INSTALLATION

- Turn off power at main fuse box.

- Completely screw two screws into the threaded holes in the crossbar that line up with the two holes in the fixture backplate or canopy.

- Fasten the crossbar to the tabs on the junction box with the other two screws included.Make sure that the headless ends of the first two screws are facing towards you and that they are positioned properly onto the box so that the fixture can be mounted straight onto the wall.

- Connect black and white wires of power supply to black and white wires of fixture. Connect ground wire (green or bare copper) to ground screw on junction box.

NOTE: All wire connections should be made with wire nuts (included) and all wires should be pushed back into the junction box.

- Mount backplate or canopy of fixture over the two screws of the crossbar. Screw on the two decorative knobs.

- Screw lightbulb(s) into socket(s).

TURN ON POWER

ENJOY YOUR NEW EUROCLASSIC™ LIGHTING FIXTURE